## Slide 1: Packing Jobs onto Machines in Datacenters
Cliff Stein
Columbia University

## Slide 2: Modelling
Partly from Rodero et. al.
Partly from some google experience
M heterogeneous machines (RAM, CPU, disk)
N jobs (RAM, CPU, disk, processing time, arrival time)
On-line
Objectives: response time, energy
Alternative Objective: minimum number of machines

## Slide 3: Power saving assumptions
If a machine is idle, it can be shut down (0 power)
If a machine has light processing requirements, and high memory, the processor can be slowed down
If a machine has low memory utilization, the memory can be slowed down
If a machine doesn’t use disk much, the disk can be shut off (use network instead)

## Slide 4: Table from Rodero
 | Running normal | Running Low | Idle
CPU | 155w | 105w | 85w
Memory | 70w | 30w | 
Disk | 50w |  | 10w

## Slide 5: First problem
Off Line
Pack Jobs onto Machines
Flow Time constrained to be at most α (lower bound)
Energy model. At any time on any machine, power is a function of (memory, cpu) as from previous table.
Consider either three-state (off, low, high), or linear interpolation based on load.
Minimize total energy used.

## Slide 6: Second problem
On-line
Allow migration
Deadlines?

## Slide 7: A different problem